AQUAFLOW: DESIGN AND DEVELOPMENT OF AN IOT-BASED SMART WATER METERING AND AUTOMATED BILLING SYSTEM

ABSTRACT

Water utilities in Zimbabwe face significant challenges due to reliance on outdated mechanical meters and manual reading processes. These inefficiencies result in inaccurate "estimated" bills, administrative delays, and high levels of Non-Revenue Water (NRW) caused by undetected leaks. This study presents the design and development of "AquaFlow," an Internet of Things (IoT) based smart water metering system aimed at modernising urban water management.

The primary objective of this project is to automate consumption monitoring and billing. The proposed system integrates a digital flow sensor with a microcontroller and utilises a network technology to transmit real-time usage data to a central cloud server.

By shifting from manual to digital systems, AquaFlow addresses the root causes of billing disputes and empowers consumers with transparent data. The study demonstrates that this technology offers a scalable, cost-effective solution for municipalities to improve financial stability, enhance service delivery, and promote water conservation through the early detection of infrastructure leakage.

INTRODUCTION

Water utility management in Zimbabwe is currently at a critical turning point. While the nation faces environmental water scarcity due to climate change, a more immediate threat is the "administrative drought" caused by outdated infrastructure. In major urban centres such as Harare and Bulawayo, municipalities are losing their treated water, a phenomenon known as Non-Revenue Water (NRW). This crisis is largely driven by a reliance on mechanical meters and manual reading processes that are no longer fit for purpose in a digital economy

This research focuses specifically on the transition from post-paid mechanical metering to pre-paid digital monitoring as a mechanism for demand-side management. While smart metering is established in the developed world, its application in resource-constrained environments like Zimbabwe requires a unique architectural approach. Existing literature often focuses on complex, high-bandwidth solutions that are ill-suited for areas with inconsistent power and internet connectivity. Therefore, this project investigates the viability of using widespread GSM/GPRS cellular networks to create a robust, low-cost telemetry system.

#### Research Question and Hypothesis

The central question guiding this investigation is: To what extent can an IoT-based intervention system solve failures of manual water management.

We hypothesize that by replacing the human-in-the-loop verification process with automated, real-time data logging, municipalities can reduce billing discrepancies by over 90% and identify infrastructure leaks within hours rather than weeks. Furthermore, we posit that introducing a pre-paid "pay-as-you-flow" model will incentivise consumer conservation behaviours

### APPROACH TO STUDY/PROJECT

The research employs a structured, layered architecture to facilitate the "Pay-As-You-Flow" model. The system is designed as a modular pipeline

- Data Acquisition and Transmission: A water flow sensor generates pulse signals proportional to water velocity. The ESP32 microcontroller processes these pulses into volumetric data. Using the HTTP protocol, the ESP32 acts as a client, sending POST requests containing JSON-encoded meter readings to a C# Web API.

- The C# Middleware: The backend, developed in C#, serves as the system's "intelligence." It handles authentication, validates incoming data packets, and executes the billing logic. When a reading is received, the C# service calculates the remaining credit and determines if the solenoid valve should remain open or be closed.

- Database Management (Firebird SQL): Unlike costly cloud-managed services, Firebird was selected for its small footprint and high performance in embedded environments. The database stores the relational schema, including user profiles, consumption logs, and transaction histories. The C# backend communicates with Firebird using the ADO.NET provider, ensuring ACID-compliant transactions for financial data integrity.

Workflow/Architecture Diagram is shown by the diagram below

EXPECTED RESULTS

The outcome of this specific technical implementation is expected to yield the following results:

- System Latency: The end-to-end data trip from the meter to the Firebird database via the C# API is expected to occur in under 5 seconds, assuming stable GSM connectivity.

- Data Accuracy: By utilising C#'s Decimal types and Firebird’s precision for financial calculations, the system will eliminate the rounding errors common in manual municipal billing.

- Local Resilience: The C# backend can be hosted on a local server within a municipal office, allowing the system to function over a local network (Intranet) even if international internet fibre links are interrupted.

CONCLUSION

The proposed AquaFlow architecture proves that effective smart metering does not require expensive global cloud subscriptions. By utilizing Firebird SQL and C#, this research demonstrates a cost-effective, high-performance solution that fits the financial reality of Zimbabwean local authorities. The integration of IoT hardware with a professional-grade C# backend creates a transparent billing cycle that can significantly reduce Non-Revenue Water and restore the financial health of urban water utilities.

### LIST OF REFERENCES

Bordoni, R. 2024. Firebird 5.0 Administration and Performance Guide. London: Packt Publishing.

Harare City Council. 2024. Annual report on water distribution and revenue collection. Harare: Government Printer.

Liberty, J. & Betts, I. 2023. Programming C# 10: Build Cloud, Web, and Desktop Applications. Sebastopol: O'Reilly Media.

Mpofu, S. 2024. The impact of digital transformation on Zimbabwean infrastructure. Bulawayo: National University of Science and Technology.

Moyo, T. 2023. Smart metering for developing nations. Journal of African Engineering, 12(4):45-58.

ZINWA. 2025. Strategic plan for reducing non-revenue water in urban centers. [Online] Available from: https://www.zinwa.co.zw/strategy2025/ [Accessed: 20 January 2026].