OPERATIONAL PROCEDURES

System Startup

- Power the NodeMCU.

- Verify OLED startup screen.

- Listen for double buzzer confirmation.

- Start backend API.

- Start frontend application.

Monitoring

- Water flows through the sensor.

- Pulse signals are generated.

- NodeMCU calculates flow rate.

- Data is transmitted to the backend.

- Backend stores readings in Firebird.

Leak Detection

When flow exceeds the configured threshold:

- Buzzer activates.

- Alert is generated.

- Database alert record is created.

Shutdown

- Stop frontend.

- Stop backend.

- Disconnect hardware.